## Slide 1: Disaster Recovery and Business Continuity
Notes: Namaskar!!!
Ladies and gentlemen, good evening!!!
I’m very happy to introduce myself and present today
About “Disaster Recovery for GIDC”

## Slide 2: Outline
Disaster Recovery and Business Continuity
  Business continuity planning
  Business impact assessment
  BCP documentation
  Nature of disaster
  Disaster recovery planning
Notes: Here is my self introduction.
I started working for NITC since Jun last year.
As an expert from KOICA
As you can see in this slide
I’d like to contribute to ICT development of Nepal by sharing Korean IT experiences

## Slide 3: Disaster aftermaths
Most companies that experience a major disaster are no longer in business within 5 years !!!
  - The US Bureau of Labor -
Revenue loss
Brand image hurt
Customer leaves
What if in case of public sectors ?
Notes: Then,
What will happen, if your system stops by disasters?
Here are disaster aftermaths….
According to US bureau of Labor, ------
Aftermaths like
Revenue loss
Brand image hurt
Customer leaves
Here, I have a question….
Do you think all these are related with only the private sector ?
What do you think disaster aftermaths are in public sectors?
Those are like
Inconvenience to citizens and businesses….
They can be
Economy collapse
Critical data loss
Even more catastrophic situation than in private sectors
Do you agree ?

## Slide 4: How Disasters Affect Businesses
Direct damage to facilities and equipment
Transportation infrastructure damage
  Delays deliveries, supplies, customers, employees going to work
Communications outages
Utilities outages

## Slide 5: Classification of Disasters
disasters
natural
non-intentional
intentional
anthropogenic, man-made
natural
Thunderstorms
Tornadoes
Lightning
Earthquakes
Volcanoes
Tsunami
Landslides
Floods, droughts
Epidemics
Acts of people
Technological system failures
Hazardous materials
Environmental
Nuclear
Aviation, railways
Fires, collapse
Workplace violence
Civil disobedience
  - Labor riots
  - Political riots
Terrorism
Weapons of mass destruction
natural
Notes: Anthropogenic: chiefly of environmental pollution and pollutants) originating in human activity.
There are many unforeseen events like this
Called disasters.
Natural disasters, like earthquake, thunami, floods
Non-intentional disasters, like acts of people
Intentional disasters, like terror, workplace violence (strike)

## Slide 6: 9 major threats to DC
Cooling system down
Power system down
Radioactive contamination
Terror (including cyber terror)
Telecom network cut off
Huge human resources vacuum
Earthquake
Flood
Fire
Notes: Of various kinds of disasters,
The following are 9 major threats to DC…
Which one do you think can be the most probable threat in Nepal???

## Slide 7: How BCP and DRP Support Security
BCP (Business Continuity Planning) and DRP (Disaster Recovery Planning)
Security pillars: C-I-A
  Confidentiality
  Integrity
  Availability
BCP and DRP directly support availability

## Slide 8: Definitions
Disaster Recovery (DR)
  Disaster Recovery (DR) is the process of recovering from a catastrophe. The recovery is facilitated by a DR solution. The disaster recovery solution enables the business to continue operation by providing alternative access to business critical data while the disaster related damage is repaired. The disasters can be of two types: (a) a sudden disaster/outage that is partial or site wide (weather related disasters, fire, terrorism or any enterprise-threatening event that puts the organization at risk of not recovering) or a (b) rolling disaster e.g. a virus attack that is propagated throughout the enterprise and discovered long after it has corrupted the data.
Business Continuity (BC)
  Business Continuity Planning (BCP) is an overarching plan to maintain business operations in the event of a disaster that may pose a threat of interruption to the business. In particular, BCP allows for on going, real-time, continuous operation (protection of and access to your data) while the interruption is corrected

## Slide 9: What is a Disaster Recovery ?
DR : The planned process of restoring systems, data, and infrastructure required to support key ongoing business operations.
A DR plan : a proactive measure to minimize a company’s downtime during sudden emergencies
An unforeseen event : fire, flood, earthquake, etc
Customer site
Emergency event
declared
Personnel mobilized to
backup DR site
Company systems
run from DR site
Notes: DR is the planned process of restoring systems, data
To support key ongoing business operations
We also should have a DR plan for realizing DR.
DR plan is a proactive measure to minimize a company downtime during sudden emergencies,
Like Fire, flood, earthquake
====
While normal operation in an usual site,
If we face unexpected emergency declared,
Then, we mobilize personnel to backup DR site
And then, company systems run from DR site
===

## Slide 10: Definitions
What is a DR/BC Plan..?
  The methods, processes, and procedures needed to minimize the impact of a disaster upon information and data required for critical business processes.
  The guidelines and activities required to restore systems, operations, and the business to the conditions that prevailed prior to the disaster.
  A well-written and properly tested plan that allows recovery personnel to administer recovery efforts that result in a timely restoration of services.

## Slide 11: Planning for Protection
Disaster Recovery ...enables your business to continue operation by providing alternative access to business critical data.
Business Continuity ...allows for on going real-time continuous operation while the interruption is corrected.

## Slide 12: Industry Standards Supporting BCP and DRP
ISO 27001: Requirements for Information
Security Management Systems. Section 14
addresses business continuity management.
ISO 27002: Code of Practice for Business Continuity Management.

## Slide 13: Industry Standards Supporting BCP and DRP (cont.)
NIST 800-34
  Contingency Planning Guide for Information Technology Systems.
  Seven step process for BCP and DRP projects
  From U.S. National Institute for Standards and Technology
NFPA 1600
  Standard on Disaster / Emergency Management and Business Continuity Programs
  From U.S. National Fire Protection Association

## Slide 14: Benefits of BCP and DRP Planning
Reduced risk
Process improvements
Improved organizational maturity
Improved availability and reliability
Marketplace advantage

## Slide 15: Benefits from DR center
Significantly reducing the impact of sales, financial, and customer losses during unforeseen interruptions to the business operations
A successful DR plan gives
  Confidence in knowing the key operations can take place at a second site within a set timeframe – even if your office is affected
  Protection against a single point failure associated with a single site for operations and business data
  The ability to recover valuable company data
  Fully functional office working areas for your evacuated employees during emergencies
Notes: Here are benefits when you can get from DR center…
You can reduce the impact
During unforeseen interruptions to the business operations
And more benefits…

## Slide 16: Types of DR sites
Type | Ideal for | Pros | Cons | Average recovery
Hot standby | Mission-critical applications, high business impact activities | Almost instant failover, full data integrity, little to no impact to business operations, guaranteed recovery timeframe | Long setup process. High cost, higher administrative burden | 10 seconds ~ 2 minutes
Warm standby | Mission-critical applications, medium-to-high business impact activities | Fast failover, little data loss, small-to-medium impact to business operations, guaranteed recovery timeframe | Long setup process, medium-to-high cost, medium administrative burden | 10 ~ 45 minutes
Cold standby | Non-mission-critical applications, low business impact activities | Low initial cost, guaranteed equipment availability | Unpredictable recovery time, tedious restoration process, potentially large impact to business operations | 4 hours ~ 2 days
Offsite data backup storage | Non-mission-critical applications, very low business impact activities | Flexible, inexpensive, secure | Very long recovery time, must first configure application environment and then restore data, very large impact to business operations | 18 hours ~ 8 days
Notes: There are 4 types of DR sites like
Hot standby
Warm standby
Cold standby
Offsite data backup storage
However, someone says Mirror site, above hot site instead of offsite storage.
There are several pros and cons as described in the table
When you think of DR, you will have to select one of them…

## Slide 17: DR components
DR center infrastructure
DR Solution implementation
DR planning
Notes: Now, I’d like to talk about DR components.
There are 3 DR components ;
DR infrastructure,
DR solution,
DR plan.

## Slide 18: DR – infrastructure construction
Notes: DR infrastructure consists of
Data Center building,
Networks,
Cooling systems
Installed as usual Data center

## Slide 19: Data center design considerations
Operational reliability
Quick changes, including additions and rapid expansions
Online status monitoring
Life cycle management
Customer access
Physical security
Rapid detection, identification and resolution of faults
Notes: When designing data center, we have to consider the followings ;
Operational reliability,
Quick changes,
Online status monitoring,
Life cycle management,
Customer access,
Physical security,
Rapid detection, identification and resolution of faults

## Slide 20: Considerations for DR site selection
Geographic accessibility from the main center
Expandability for the future demand
Network capabilities for interconnections (optical fibers)
Proximity to public utilities (power supply, emergency services, transport, etc)
Security
- Natural hazards like flood, seismic activity, and lightning
- Potential man-made hazards (strikes, fire, pollution, etc)
Manageability
Economic feasibility
Notes: Based on data center design consideration,
As for DR site selection,
We have to consider the followings ;
Geographical accessibility from the main center,
Expandability for the future demand,
Network capabilities for interconnections,
Proximity to public utilities
Security,
Manageability,
Economic feasibility

## Slide 21: Case : DR site selection - distance
US : 40 miles (64Km, out of the same influence of the hurricane)
Japan : on a different tectonic plate, a different seismic activity zone
EU : 5~10Km (against bombing attack)
Korea : similar to the situation in EU, usually +30km away
What about in Nepal?
Notes: Let’s see cases of DR site selection - distance, one of the major considerations.
Each country has different standards related to distance like this.

## Slide 22: DR site selection - distance
distance
manageability
disaster
responsiveness
optimum point ?
Notes: However,
The farther from main center, the better ?
We must consider the manageability as well as distance.
So we can select optimal point like this diagram.

## Slide 23: Site evaluation factors : ASSES
stability
Availability
Security
Survivability
economics
Efficiency
Scalability
Backup, redundancy
24*7 operation
Natural disasters
Potential man-made disasters
IT resources
Maintenance
Hi-quality equipment
Physical scalability
Functional scalability
Notes: As for evaluation factors, called ASSESS,
Availability, security, survivability, efficiency, scalability.

## Slide 24: General DR plan
Primary processing location
Backup processing location
  Mirrors primary processing location
  Can be used for load balancing
Remote storage and archival
  Tape vaults
  Storage for data files, SaaS library images
  Allows government operations continuity in the event of major disruption
Primary
Backup
Archive
Notes: In general
For the perfect and final government data center implementation,

## Slide 25: DR Solution implementation

## Slide 26: DRS implementation
Planning
Define DR requirements
Analyzing
Business impact & system
DR solution
Proceeding & execution
Implementation methodology
Implementing DRS
DRP
DR requirements
  - RPO
  - RTO
  - RAO
  Detailed DR targets
BIA, system analysis
  - business impact
  - data
  - customer contact
  DR solution analysis
  - economics
  - manageability
  - technological
  - reference
DR solution selection
  - H/W solution
  - S/W solution
  DR planning
  - DR process
  - DRP test & update
Notes: RPO: Recovery Point Objective: describes the interval of time that might pass during a disruption before the quantity of data lost during that period exceeds the Business Continuity Plan’s maximum allowable threshold or “tolerance.”
RTO: Recovery Time Objective: How much time did it take to recover after notification of business process disruption?
RAO: Recovery Access Objective: Time required to reconnectuser to the recovered application, regardless where it is recovered

## Slide 27: DR requirements
Identify what are the Functional Areas that MUST be recovered during an emergency
Define the Recovery Time Objective (RTO)
  - “How much downtime (if any) can be tolerated?”
Define the Recovery Point Objective (RPO)
- “How much data (if any) can you afford to lose?”
In addition,
Define the Recovery Access Objective (RAO), and
the Recovery Scope Objective (RSO)

## Slide 28
time
Recovery point
Recovery time
Days hours mins secs secs mins hours days weeks
Critical data is
recovered
Systems recovered
and operational
time t0
time t1
time t2
Tape
backup
Periodic
replication
Asynchronous
replication
Synchronous
replication
Extended
cluster
Manual
migration
Tape
restore
Increasing cost Increasing cost
How current or fresh is
the data after recovery ?
How quickly can systems and
data be recovered ?
Disaster
strikes

## Slide 29: DR solutions
type |  | solution |  | DB/file
System mirroring (S/W type) | OS | HAGEO GEORM | IBM unix | DBMS, File system
 |  | - VVR (Veritas Volume Replicator) | HP, SUN unix | 
 | DBMS | RRDF | DBS | DB2, ORACLE DBMS
 |  | Symmetric Replication SharePlex | ORACLE | 
Disk mirroring (H/W type) |  | SRDF | EMC | All file systems
 |  | HRC | HITACHI | 
 |  | - XRC | IBM | 
HAGEO : High Availability Geographic Cluster
GeoRM : Geographic Remote Mirroring
RRDF : Remote Recovery Data Facility
SRDF : Symmetrix Recovery Data Facility
HRC : Hitachi Remote Copy
XRC : eXtended Remote Copy

## Slide 30: DR solution selection
minutes hours days
time
cost
high
low
mirroring
real-time data replication
log journaling
periodic data replication
backup tape
offsite archive
Increasing CAPEX
DR solution/equipment
Real-time data replication
N/W implementation
Increasing OPEX
Backup data
Data consistency needed

## Slide 31: DR solution selection
0~1 hour 1~6 hours 6~24 hours 24~48 hours
No loss
Little loss
Loss after
backup
Loss
Recovery
time
Continuous availability High availability Improved availability Traditional availability
SOS
Remote tape
Remote DASD
IRC
XRC
RR/400
PPRC
SRDF
GDPS/XRC
GDPS/PPRC
Electronic
journaling
IRC : intermittent remote copy
SOS : standby operating system
PPRC : peer-to-peer remote copy
XRC : extended remote copy
Electronic journaling : dual transaction logging

## Slide 32: Business Continuity Planning

## Slide 33: Creating a BCP
Is an on-going process, not a project with a beginning and an end
  Creating, testing, maintaining, and updating
  “Critical” business functions may evolve
The BCP team must include both business and IT personnel
Requires the support of senior management

## Slide 34: BCP phases
Project management & initiation
Business Impact Analysis (BIA)
Recovery strategies
Plan design & development
Testing, maintenance, awareness, training
Notes: Phases are covered in detail in next slides

## Slide 35: I - Project management & initiation
Establish need (risk analysis)
Get management support
Establish team (functional, technical, BCC – Business Continuity Coordinator)
Create work plan (scope, goals, methods, timeline)
Initial report to management
Obtain management approval to proceed
Notes: If you don’t establish need, how can you get management support? A BCP costs a lot to develop and maintain. No ROI either.
Functional leads are necessary because the IT staff don’t understand the business.
The BCC is the project manager for the BCP creation, the most important person.
The work plan will be like the phases of a traditionally managed project

## Slide 36: II - Business Impact Analysis (BIA)
Goal: obtain formal agreement with senior management on the MTD for each time-critical business resource
MTD – maximum tolerable downtime, also known as MAO (Maximum Allowable Outage)
Quantifies loss due to business outage (financial, extra cost of recovery, embarrassment)
Does not estimate the probability of kinds of incidents, only quantifies the consequences
Notes: A lot of the BCP creation is driven by the MTDs assigned to various business functions, so the BIA is very important.

## Slide 37: II - BIA phases
Choose information gathering methods (surveys, interviews, software tools)
Select interviewees
Customize questionnaire
Analyze information
Identify time-critical business functions
Assign MTDs – Maximum Tolerable Down TIme
Rank critical business functions by MTDs
Report recovery options
Obtain management approval
Notes: There are nine phases to the BIA.
Selection of interviewees is very important. These will be the subject matter experts from the business units, and they have to be the people who know the business.
Customize questionnaire: there is no standard set of questions – it varies with each business
Time-criticality – some processes are more critical than others. Printing a payroll is important, but not time-critical usually.
if you’re Amazon.com, keeping your web site up is critical. The business won’t go under if you print paychecks a couple of days late, but they would lose millions in potential revenue if their web site were down for a day. The BIA aims to rank-order business processes in these terms.

## Slide 40: III – Recovery strategies
Recovery strategies are based on MTDs
Predefined
Management-approved
Different technical strategies
Different costs and benefits
How to choose?
Careful cost-benefit analysis
Driven by business requirements
Strategies should address recovery of:
  Business operations
  Facilities & supplies
  Users (workers and end-users)
  Network, data center, telecommunications (technical)
  Data (off-site backups of data and applications)
Notes: Predefined means we don’t have to make it up as we go along. We have a documented, tested plan in place.
Management approved means you will get the resources to implement the BCP.

## Slide 41: IV – BCP development / implementation
Detailed plan for recovery
  Business & service recovery plans
  Maintenance
  Awareness & training
  Testing
Sample plan phases
  Initial disaster response
  Resume critical business operations
  Resume non-critical business operations
  Restoration (return to primary site)
  Interacting with external groups (customers, media, emergency responders)
Notes: Step one above is what you might think of as the BCP, but the next 3 bullets are equally important.

## Slide 42: V – BCP final phase
Testing
  Until it’s tested, you don’t have a plan
  Testing types: Structured walk-through, Checklist, Simulation, Parallel, Full interruption.
Maintenance
  Fix problems found in testing
  Implement change management
  Audit and address audit findings
Awareness / Training
  BCP team is probably the DR team
  BCP training must be on-going, part of corporate culture

## Slide 43: DR planning

## Slide 44: Disaster recovery plan
DRP
  is a subset BCP (business continuity planning), and
  should include planning for resumption of applications, data, hardware, communications (such as networking) and other IT infrastructure.

## Slide 45: Body of DR plan
Emergency information sheet
Immediate steps to be taken
Introduction to the plan
Its purpose, author, organization, scheduled updates
Communication plan
Pre-disaster actions
Individuals to be contacted
Instructions for response and recovery
Step by step, what to do afterwards

## Slide 46: Case : DR plan
Main center
DR center
Identify disaster &
Declare emergency response
RTO : 3 hours
Identify emergency &
Make DRS ready
Recover system
Activate system
Restore data
Recover DB & task
Recover N/W
Recover DB & task
Consistency?
Start DRS
Resume business
Spread out & redeploy
time
System recovery
DB & business recovery